**Platinum Cured Silicone O-rings**

[Fluid Path Products](https://www.fluidpathproducts.com/_files/ugd/faea02_0909baf2fb4c4fbfb870d9c755825b22.pdf)

* Have clear, platinum cured silicone O-rings in stock
* Need to know size, and quantity
  + If size the have already in stock, could receive relatively quickly
* Email: carlyb@fluidpathproducts.com
* ISO 10993 Compliant

**Biocompatible Permanent Adhesive**

* Needs to meet ISO 13485 an ISO 10993

Elastosil E43 N

* What we tried to originally purchase last semester
* Having a hard time finding a good sourcing location
* [SkyGeek](https://skygeek.com/wacker-chemie-elastosil-e43-rtv-1-silicone-rubber-adhesive-90-ml-tube.html?utm_source=googlebase&utm_medium=shoppingengine&utm_content=wacker-chemie-elastosil-e43-rtv-1-silicone-rubber-adhesive-90-ml-tube&utm_campaign=froogle&gad_source=1&gbraid=0AAAAAD_KchHeS3hvwVfQXH2fucgE1NsRO&gclid=Cj0KCQiA4-y8BhC3ARIsAHmjC_HYD0Tm17Lt1oO-LB5RN0A6wRB5uzLU8Gx91xWRV2Tu5Vu19zWrGuAaAtOKEALw_wcB)

[Vitralit 4731](https://www.panacol.com/panacol/datasheets/vitralit/vitralit-4731-english-tds-panacol-adhesive.pdf) & [Vitralit 7041 F](https://www.panacol.com/panacol/datasheets/vitralit/vitralit-7041f-english-tds-panacol-adhesive.pdf)

* Need to be cured by UV/Visible Light
  + Confused if this means we need LED or not

[Master Bond](https://www.masterbond.com/products/silicones-medical-devices)

* Mastersil 151 Med

[GlueGun](https://www.infinitybond.com/products/infinity-bond-medical-device-cyanoacrylate-super-glue?srsltid=AfmBOopMESmX7x6c0C-cYaogxdOa7JUPovWC0pIANbFzr3KdhsA6tYxt&variant=31582833901702)

# Infinity Bond Medical Device Super Glue Cyanoacrylate

* + 220 $
  + Requested TDS and SDS to confirm if usable
* Got TDS and SDS, emailed to try and get a sampe - if no response today will call tomorrow