Individual Brainstorming

Darcy

- Portable charger

  - Considers the power outages in Malawi

  - Meets the design criteria of using low-power

  - Meets the design criteria of being compact

  - Does not meet the design criteria of resource availability in Malawi

- Window screen/metal mesh

  - Meets the design criteria of sterilizable, reusability, and mechanical robustness

  - Depending on the material, this idea could fail in terms of resource availability and cost

- Metal connections

  - Meets the design criteria for sterilizable, reusability, mechanical robustness

  - This could not provide an air-tight seal, depending on whether there is no additional connections, such as glue

- Solar panel

  - Again, this accounts for power outages in Malawi

  - Meets design criteria for using low power and resource availability

  - Fails the design criteria of being compact

- Lab pipette for drip chamber

  - This material would allow for the flexibility we want in the chamber

  - This idea meets none of our major design criteria

- Zip ties for flow regulation

  - This allows for proper flow modulation

  - Meets the design criteria for sterilizable, reusability, cost, and ease of use

  - Fails the design criteria for resource availability and mechanical robustness

- Cheesecloth for filter

  - This would provide the design to filter out blood clots, however, the holes may be too large to efficiently filter.

  - Meets the design criteria for resource availability and cost

  - Fails the design criteria for sterilizable, reusability, and mechanical robustness

- Metal tubing in some locations

  - This idea was mainly to think of ways to make our tubing more robust

  - Meets the design criteria for sterilizable, reusability, mechanical robustness, and cost

  - Might fail the design criteria for air-tight seal due to additional connections

Hannah

Jason

- Masterflex Tubing:

  - I found this steralizable tubing through research and it seemed perfect for our project

  - Meets design criteria of being autoclaveable, and biocompatible

  - The only part not considered is if the luer locks will hinder the sterilization process

- A Glass spike was thought to be a spike made of an easily sterilizable material.

  - Meets the design criteria of sterilizable and would be compatible with the blood bags

  - Does not consider the damage that could be done to the blood bag if too sharp

  - Does not consider durability and the likelihood that it will be broken in the clinic

- The Drip Chamber idea was thought to use the same material of the tubing that i found and make the spike attach to the drip chamber using a screw-on set with hard plastic or metal to make the chamber open and sterilizable.

  - Meets the design criteria of sterilizable and easy to assemble.

  - Does not consider what kind of adhesive we will use to attach the components

- The Flow regulator design was a design that I had seen online that i later found out was called a Robert Clip.

  - Meets the design criteria of being easy to use and sterilizable if made out of the right material.

  - Is not sufficient to provide a range of flow modulation in both increasing and decreasing flow

- The filter design was just a thought to make a metal mesh filter

  - This meets the design criteria of being a sterilizable material, however, does not consider whether the mesh size or porosity of the mesh will affect the sterility of the mesh

  - Would need to consider corrosion and other factors that would play into choosing the right metal

  - Also does not consider geometry for this filter which would have a large impact on the design.

Michaela

- Design 1 - Filter

  - Filter made out of metal mesh

  - Sterilizable, durable, reusable, easy to source

  - May be hard to assemble depending on how we put into drip chamber

  - Large surface area = faster blood filtration rate

- Design 2: Tube-needle interface

  - Tube- needle interface

  - Luer lock is airtight, easy to assemble, sterilizable, durable after many uses

  - Medical grade epoxy glue will ensure the strength of the connection from the tube to the luer lock

- Design 3: drip chamber cap/spike

  - Fit into each other

  - Lots of components makes it hard to assemble but improves sterilization capabilities

  - More components may mean less tight

  - Air vent not necessary if we have squishy bags

- Design 4: Tube-needle interface

  - Dual end luer lock connector with threads on tubing

  - Threads on tubing not feasible if have a bending material, would not be airtight and would be difficult to use

- Design 5: Drip chamber - cap/base interface

  - Have screw in for the cap and chamber

  - Airtight, easy to use, increases exposable surface area in autoclave

  - May have to use epoxies and additional components to finalize screw in